# GUIDE SPECIFICATION

# 1000R Reveal Column Cover

## ALUMINUM COMPOSITE COLUMN COVER

# Petersen Aluminum Corporation

# 1005 Tonne Road

# Elk Grove Village, IL 60007

# Telephone: (800) 323-1960 or

# (847-228-7150

# FAX: (847) 956-7960

# PART 1 – GENERAL

1.1	Related documents

A.	The drawings and provisions of the General Conditions, Supplementary Conditions and the sections included under Division 1 Specification Sections, apply to this section.

1.2	SUMMARY

A.	This section includes aluminum composite (ACM) column covers used as the exterior or interior cladding.  Preformed, pre-finished column covers with a reveal joint, fabricated in round, square, rectangular or oblong configuration.

1.3	Performance REQUIREMENTS

A.	Structural performance: provide column cover assemblies capable of withstanding the effects of load and stresses from dead loads, wind loads, snow loads and normal thermal movement without evidence of permanent defects of assemblies or components.

- Dead load: As required by applicable building code.

- Live Load: As required by applicable building code.

- Wind Load: Uniform pressure (velocity pressure) of (Insert Design Criteria) lb/sq ft. (Insert Design Criteria), acting inward or outward.

- Thermal Movements: Provide assemblies that allow for thermal movements resulting from the following maximum changes (range) in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components and other detrimental effects:

- Temperature Change (range): 120 deg F (67 deg C), ambient; 180 deg F (100 deg C), material surfaces.

- Sealed joints shall allow free and silent movement of columns during expansion and contraction while preventing uncontrolled penetration of moisture.

- Manufacturing, installation, and sealing shall prevent deformation of exposed surfaces.

- Design column system to accommodate substructure tolerance of +0 to -1/8 inch.

- Design the system to affect a positive mechanically fastened assembly to substructure, not dependent on adhesives.

- Not Permitted: Vibration harmonics; wind whistles; noises caused by thermal movement; thermal movement transmitted to other building elements; loosening, weakening or fracturing of attachments or components of system.

1.4	SUBMITTALS

- Product Data:  Manufacturer's product literature for the columns specified.

- Shop Drawings:  For exterior/interior column cover assemblies and accessories.  Include plans; elevations; sections and details.

- Structural Calculations:  Submit a comprehensive analysis of design loads, including dead loads, live loads, wind loads and thermal movement.

- Quality Assurance Submittals:  Submit the following:

- Certificates:  Product certificates signed by manufacturer certifying materials comply with the specified performance characteristics and criteria, and physical requirements.

- Samples for initial selections:  Manufacturer’s color charts showing the full range of colors available for units with factory-applied color finishes.

- Samples for verification:  Provide color samples of selected color.  Samples shall involve normal color and texture variations, include sample sets showing the full range of variations expected.

- Affidavit certifying that the material meets the requirements specified.

1.5	QUALITY ASSURANCE

- Professional Engineer Qualifications: A professional engineer who is legally qualified to practice in the jurisdiction where the project is located and who is experienced in providing engineering services of kind indicated.

- Manufacturer Qualifications:  Minimum of 5 years experience in manufacturing column covers similar to those specified.

- Installer Qualifications:  Acceptable to manufacturer.

1.6	delivery, storage & handling

- General:  Comply with Division 1 Product Requirements Sections.

- Ordering:  Comply with manufacturer’s ordering instructions, and lead-time requirements to avoid construction delays.

- Delivery:  Deliver materials in manufacturer’s original, unopened, undamaged containers with identification labels intact.

- Store materials in accordance with manufacturer’s recommendations.

- Handle materials carefully to avoid damage to materials and finishes.

1.7	Project conditions

- Field Measurements:  Verify actual supporting and adjoining construction by field measurements before fabrication, and indicate recorded measurements on final shop drawings.  Coordinate construction to ensure that column covers fit properly to supporting and adjoining construction and coordinate schedule with construction progress to avoid delaying the work.

- Established dimensions:  where field measurements can not be made without delaying the work, guarantee dimensions and proceed with fabrication of column covers corresponding to the established dimensions.

1.8	WARRANTY

- Project warranty refers to Conditions of the Contract for project warranty provisions.  Manufacturer’s warranty: submit, for Owner’s acceptance, manufacturer’s standard warranty documents executed by authorized company official.  Manufacturer’s warranty is in addition to, and not a limitation of, other rights owner may have under Contract Documents.

- The Contractor shall warrant the materials to be free of faults and defects in accordance with the General Conditions, except that the warranty shall be extended by paint manufacturer's standard multi-year warranty.  The warranty shall be in writing and shall be signed by the manufacturer.

PART 2 – PRODUCTS

2.1 	MANUFACTURER

- Manufacturers: Subject to compliance with requirements, provide products manufactured by:

- Petersen Aluminum Corp, 1005 Tonne Road, Elk Grove Village, IL 60007           Phone 800-323-1960, Fax 847-956-7960; www.pac-clad.com

- Series 1000R - Aluminum Composite Column Covers

- Alternate systems by other manufacturers/fabricators are to be submitted to the architect not less than 7 working days prior bid.

2.2	Materials

  - Aluminum sheet shall be ALPOLIC® or REYNOBOND® Standard Core or Fire Rated (FR) as specified.

  - Material thickness shall be 3mm Standard Core, 4mm Standard Core, 6mm Standard Core or 4mm Fire-Rated (FR) Core, as specified based on application and core composition.

2.3	Fabrication, General

- Tolerances

- Roll columns to a true radius with return attachment legs formed to accommodate proper installation.

- Radius:  Refer to Drawings.

- Reinforce columns covers with stiffeners where applicable to meet design criteria.

- Column lines, breaks, and angles shall be sharp and true, and surfaces shall be free from warp or buckle.

- Column surfaces shall be free of scratches or marks caused during fabrication.

- If a metallic color is selected ensure that column grain is maintained.  Under no circumstances are column blank sizes to be rotated even if material waste in increased.

2.4	Accessories

- Fasteners: as recommended by the column cover manufacturer.

- Column attachment clips:  1/8 inch thick formed metal, compatible with the column skin – column clips to ship loose for field installation.

- All hidden fasteners shall be Climaseal coated or stainless steel.

- Optional Vertical Channel Filler: Fabricate of .040” aluminum and finish as column cover, for concealing fasteners in vertical joints between sections.

- Column Cover System Subgirts: Provide G90 galvanized steel or aluminum of gauge and spacing required for column system structural requirements, as recommended by column manufacture and in accordance with approved shop drawings.  To avoid galvanic reaction, separate dissimilar metals.

2.5	Finishes, general

- Comply with NAAMM’s Metal Finishes Manual for architectural metal products for recommendations for applying and designating finishes.

2.6	aluminum Finishes

- All material shall be factory baked-on PVDF finish. Color to be selected from standard colors. Finish to be applied per AAMA 2605 and AAMA 620 performance requirements and shall be free of scratches and blemishes.

- Meets or exceeds the following:

  - Specular Gloss (60%) – ASTM D523

  - Pencil Hardness – ASTM D3363

  - Formability (T-Bend) – ASTM D4145

  - Reverse Impact – ASTM D2794

  - Abrasion Resistance (Falling Sand) – ASTM D968

  - Salt Spray Resistance – ASTM B117

  - Humidity Resistance – ASTM D2247

  - Atlas Weatherometer – ASTM D822

  - Color Retention – ASTM D2244

  - Chalk Resistance – ASTM 4214

PART 3 – EXECUTION

3.1	preparation

- Coordinate setting drawings, diagrams, templates, instructions, and directions for installation.  Column substructure shall be level and plumb.  Column substructure shall be structurally sound as determined by that subcontractor’s engineer.  Column substructure shall be free of defects detrimental to work and erected in accordance with established building tolerances.  Coordinate delivery of such items to project site.

3.2 	INSTALLATION

- Erect columns level and plumb, in proper alignment in relation to substructure framing and established lines.

- Columns shall be erected in accordance with approved shop drawings.

- Column anchorage shall be structurally sound and per engineering recommendations.

- Where aluminum materials come in contact with dissimilar materials, an isolation shim or tape shall be installed at fastening locations.

- Locate and place column covers level, plumb, and at indicated alignment with adjacent work.

3.3 	cleaning and protecting

- Clean exposed surfaces of column covers that are not protected by temporary covering to remove fingerprints and soil during construction period.

- Clean exposed surfaces with water and a mild soap or detergent not harmful to finishes.  Thoroughly rinse surfaces and dry.

- Protect column covers from damage during construction.  Use temporary protective coverings where needed as approved by the column cover manufacturer.

- Clean and touch up minor abrasions in finished with air-dried coating that matches color and gloss, and is compatible with, factory–applied finish coating.