# GUIDE SPECIFICATION

# PAC-Shield

August 2024

## SECTION 07 21 13 - POLYISOCYANURATE ROOF INSULATION

** NOTE TO SPECIFIER **

Display hidden notes to specifier by using “Tools”/”Options”/“View”/”Hidden Text”.

Follow the instructions listed in the ** NOTE TO SPECIFIER ** sections included throughout the specification. Edit carefully to suit project requirements. Modify as necessary and delete paragraphs that are not applicable.

This section is based on the products of Petersen Aluminum Corporation, which is located at:

1005 Tonne Road

Elk Grove Village, IL 60007

Phone: (800) PAC-CLAD

Fax: (800) 722-7150

E-mail: info@pac-clad.com Internet: www.pac-clad.com

Petersen Aluminum Corporation is the developer and producer of high performance flat and sloped polyisocyanurate insulation panels for flat roofing applications and is viable in green and sustainable building designs. This specification is for flat PAC-Shield a rigid roof insulation panel composed of a closed cell polyisocyanurate foam core bonded on each side to fiber reinforced facers.

GENERAL

SECTION INCLUDES

Flat Polyisocyanurate Roof Insulation.

RELATED SECTIONS

** NOTE TO SPECIFIER ** Delete any sections below not relevant to this project; add others as required.

Section 07200 - Building Insulation.

Section 05300 - Steel Deck.

Section 06114 - Wood Blocking.

Section 06150 - Wood Decking.

Section 07223 – Low Slope Cover Board.

Section 07260 - Vapor Retarders.

Section 07510 - Built-Up Roofing.

Section 07520 – Cold Applied Bituminous Roofing.

Section 07530 - Electrometric Membrane Roofing.

Section 07540 - Thermoplastic Membrane Roofing.

REFERENCES

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required by the text of the edited section.

    - ASTM C 209 - Methods of Testing Insulating Board, Structural and Decorative.

ASTM C 518 - Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus

ASTM C 1289 - Standard Specification for Faced Rigid Cellular Thermal Insulation Board.

ASTM D 312 - Standard Specification for Asphalt Used in Roofing.

ASTM D 1621 – Test Methods for Compressive Properties of Rigid Cellular Plastics.

ASTM D 2126 - Test Method for Response of Rigid Cellular Plastics to Thermal and Humid Aging.

ASTM E 84 - Surface Burning Characteristics of Building Materials.

ASTM E 96 - Test Method for Water Vapor Transmission of Materials.

ASTM E 108 - Standard Tests Method for Fire Tests of Roof Coverings.

ASTM E 119 - Standard Test Methods For Fire Tests Of Building Construction and Materials.

FM Approval Guide - FM 4450 Approval Standard - Class I Insulated Steel Roof Decks.

FM Approval Guide - FM 4470 Approval Standard - Class I Roof Covering.

UL 263 - Fire Tests of Building Construction and Materials.

UL 790 - Tests for Fire Resistance of Roof Covering Materials.

UL 1256 - Fire Test of Roof Deck Constructions.

SYSTEM DESCRIPTION

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required for the project.

Performance Requirements:

UL Assemblies:

Component of Class A Roof System – UL 790.

Hourly Rated P series roof assemblies (UL 263 foam core only) P 225, 230, 232, 259, 508, 510, 514, 519, 701, 713, 717, 718, 719, 720, 722, 723, 724,

727, 728, 729, 730, 732, 734, 735, 739, 801, 814, 815, 818, 819, 823, 824,

826, 827, 828, 832.

Insulated metal deck assemblies - UL 1256 (nos. 120, 123).

Factory Mutual:

FM 4450 Class I Insulated Steel Roof Decks (Foam Core Only).

FM 4470 Approval Standard - Class I Roof Covering (Foam Core Only).

FM Class 1 approval for steel roof deck constructions, Class 1 Fire and 1-60 and 1-90 windstorm classification (FM 4450).

Physical properties (Foam Core Only):

Compressive Strength: ASTM D 1621 and ASTM C 1289, Type II, 20 psi (138 kPa)

minimum for Grade 2 and 25 psi (172 kPa) for Grade 3.

Dimensional Stability: ASTM D 2126, 2 percent linear change (7 days).

Moisture Vapor Transmission: ASTM E 96, < 1 perm ((57.5ng/(Pa•s•m2)).

Water Absorption: ASTM C 209, < 1 percent by volume.

Service Temperature: Minus 100 degrees to 250 degrees F (Minus 73 degrees C to 122 degrees C).

Foam Core R Values: Based on LTTR (Long Term Thermal Resistance) in accordance with ASTM C 1289.

Foam core flame spread index of 75 or less and smoke developed of 450 or less when tested in accordance with ASTM E 84.

SUBMITTALS

Submit under provisions of Section 01300.

Product Data: Manufacturer's data sheets on each product to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

Shop Drawings: Roof plan showing slopes, layout of boards and fastening patterns.

** NOTE TO SPECIFIER ** Delete the following paragraphs if LEED is not applicable.

LEED Submittals: Provide documentation of how the requirements of Credit will be met:

List of proposed materials with recycled content. Indicate post-consumer recycled content and pre-consumer recycled content for each product having recycled content.

Manufacturer-Specific Environmental Product Declaration (EPD) which conforms to ISO 14025

Verification Samples: For each finish product specified, two samples, representing actual product.

Submit 6 by 6 inch (152 mm by 152 mm) samples of each board type required.

Submit samples of each fastener type required.

Manufacturer's Certificates: Manufacturer's certification that materials meet or exceed specification requirements.

QUALITY ASSURANCE

Manufacturer Qualifications: Manufacturer shall be a company that regularly manufactures polyisocyanurate and fully assembled nailbase insulation panels in-house with no outside fabrication operations.

Manufacturer shall have multiple manufacturing facilities to ensure consistency of product supply.

DELIVERY, STORAGE, AND HANDLING

Good construction practice dictates that all insulations should be protected from moisture and direct sunlight during job-site storage. Pallets of Petersen Aluminum Corporation polyiso products are protected by a 2-step packaging process using shrink wrap and a UV resistant polyethylene bag. This moisture resistant package is designed for protection from the elements during flatbed shipment from our facilities to the job-site.

Store products in accordance with the manufacturer recommendations.

Store product on a solid flat foundation and elevate a minimum of 2 inches above the finished surface.

Slit the bundle packaging vertically down the center of the two sides and cover with a waterproof tarpaulin

Protect insulation from open flame and keep dry at all times.

PROJECT CONDITIONS

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's absolute limits.

Do not install insulation on roof deck when water of any type is present. Do not install insulation or roofing materials when substrate is damp or wet or when proper adhesive temperature cannot be maintained.

COORDINATION

Coordinate work with installation of roof covering and associated roof penetrations and counterflashings installed by other sections as work of this section proceeds.

PRODUCTS

MANUFACTURERS

Basis of Design: Petersen Aluminum Corporation, 1005 Tonne Road, Elk Grove Village, IL 60007, Phone: (800) PAC_CLAD. Fax: (800) 722-7150 E-mail: info@pac-clad.com.

** NOTE TO SPECIFIER ** Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

Substitutions: Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01600.

MATERIALS

Board Insulation: Provide products that comply with the following:

** NOTE TO SPECIFIER ** Delete all of the following standards that are not required; coordinate with product specifications.

ASTM standards specified.

Factory Mutual (FM) approvals specified.

Underwriters Laboratories Inc. (UL) classifications specified.

Florida Building Code Approval FL#46425.

Miami Dade County, Florida Product Control No. 23-1208.14. ICC: ESR-1455

** NOTE TO SPECIFIER ** Select one or more of the insulation types as required for the project from the following paragraphs. Delete the paragraphs that are not required.

Flat Foam Roof Insulation with Fiber-Reinforced Facers: PAC-Shield; closed-cell polyisocyanurate foam core bonded to fiber-reinforced facers on both sides; conforming to ASTM C 1289, Type II, Class 1 with square edges.

Manufactured using 3rd Generation Zero ODP, EPA Compliant Blowing Agent; Contains zero CFCs, HCFCs, or HFCs; Virtually no Global Warming Potential (GWP)

Fire Ratings:

UL 1256, No. 120 and 123.

UL 790 (ASTM E 108), Class A.

UL 263 (ASTM E 119).

FM 4450/4470, Class 1. Fire Rating.

** NOTE TO SPECIFIER ** Select one of the following two paragraphs and delete the one not required.

FM Approval, Wind Uplift Classification: 1-60.

FM Approval, Wind Uplift Classification: 1-90.

** NOTE TO SPECIFIER ** Select one of the following two paragraphs and delete the one not required.

Compressive Strength: 20 pounds per square inch (138 kPa) Grade 2.

Compressive Strength: 25 pounds per square inch (172 kPa) Grade 3.

** NOTE TO SPEzCIFIER ** Select the required panel thickness paragraph from the following list. Delete the paragraphs not required. When a foam thickness of 3.5 inch or greater is required, a two layer system with staggered joints is recommended. Also, If more than one thickness is required identify the location of the materials required on the Drawings.

R Value: Provide Insulation with LTTR (Long Term Thermal Resistance) in accordance with ASTM C 1289. Minimum thickness of panels shall be as follows:

Thickness 1.00 inch (25 mm), R Value 5.7, flute spanability 2 5/8 inches (67 mm).

Thickness 1.50 inch (38 mm), R Value 8.6, flute spanability 4-3/8 inches (111.13 mm).

Thickness 1.60 inch (41 mm), R Value 9.1, flute spanability 4-3/8 inches (111.13 mm).

Thickness 1.70 inch (43 mm), R Value 9.7, flute spanability 4-3/8 inches (111.13 mm).

Thickness 1.80 inch (46 mm), R Value 10.3, flute spanability 4-3/8 inches (111.13 mm).

Thickness 2.00 inch (51 mm), R Value 11.4, flute spanability 4-3/8 inches (111.13 mm).

Thickness 2.50 inch (64 mm), R Value 14.4, flute spanability 4-3/8 inches (111.13 mm).

Thickness 2.70 inch (69 mm), R Value 15.6, flute spanability 4-3/8 inches (111.13 mm).

Thickness 3.00 inch (76 mm), R Value 17.4, flute spanability 4-3/8 inches (111.13 mm).

Thickness 3.10 inch (79 mm), R Value 18.0, flute spanability 4-3/8 inches (111.13 mm).

Thickness 3.30 inch (84 mm), R Value 19.2, flute spanability 4-3/8 inches (111.13 mm).

Thickness 3.50 inch (89 mm), R Value 20.5, flute spanability 4-3/8 inches (111.13 mm).

Thickness 3.60 inch (91 mm), R Value 21.1, flute spanability 4-3/8 inches (111.13 mm).

Thickness 3.70 inch (94 mm), R Value 21.7, flute spanability 4-3/8 inches (111.13 mm).

Thickness 4.00 inch (102 mm), R Value 23.6, flute spanability 4-3/8 inches (111.13 mm).

Thickness 4.50 inch (113 mm), R Value 26.8, flute spanability 4-3/8 inches (111.13 mm).

Flat Foam Roof Insulation with Coated Glass Facer: PAC-Shield Coated Glass; closed-cell polyisocyanurate foam core bonded to high performance coated glass fiber facers on both sides; conforming to ASTM C 1289, Type II, Class 2 with square edges.

Manufactured using 3rd Generation Zero ODP, EPA Compliant Blowing Agent; Contains zero CFCs, HCFCs, or HFCs; Virtually no Global Warming Potential (GWP)

Fire Ratings:

UL 1256, No. 120 and 123.

** NOTE TO SPECIFIER ** Select one of the following three paragraphs and delete the ones not required.

Class A – PAC-Shield Coated Glass at a thickness of 3 inches or greater in either a single layer or in a combination of multiple layers (two-layers @ 1.5 inches) is approved for a Class A Assembly without the use of a fire rated slip sheet or gypsum cover board. (contact Petersen Aluminum Corporation for a list of which multiple layers are approved).

Class B – PAC-Shield Coated Glass at a thickness of 1.9 inch or greater is a single layer is approved for a Class B assembly without the use of a fire rated slip sheet or gypsum cover board.

FM Class 1 – Approved for Class1 insulated steel, concrete, and gypsum roof deck constructions for 1-60 to 1-270. Refer to FM Approval’s RoofNav for details on specific system.

UL 790 (ASTM E 108), Class A.

UL 790 (ASTM E 108), Class B.

UL 263 (ASTM E 119).

FM 4450/4470, Class 1. Fire Rating.

** NOTE TO SPECIFIER ** Select one of the following two paragraphs and delete the one not required.

Compressive Strength: 20 pounds per square inch (138 kPa) Grade 2.

Compressive Strength: 25 pounds per square inch (172 kPa) Grade 3.

** NOTE TO SPECIFIER ** Select the required paragraphs from the following list. Delete the paragraphs not required. Indicate required insulating value on the Drawings.

R Value: Provide Insulation with LTTR (Long Term Thermal Resistance) in accordance with ASTM C 1289. Minimum thickness of panels shall be as follows:

Thickness 1.00 inch (25 mm), R Value 5.7, flute spanability 2 5/8 inches (67 mm).

Thickness 1.50 inch (38 mm), R Value 8.6, flute spanability 4-3/8 inches (111.13 mm).

Thickness 1.60 inch (41 mm), R Value 9.1, flute spanability 4-3/8 inches (111.13 mm).

Thickness 1.70 inch (43 mm), R Value 9.7, flute spanability 4-3/8 inches (111.13 mm).

Thickness 1.90 inch (48 mm), R Value 10.8, flute spanability 4-3/8 inches (111.13 mm).

Thickness 2.00 inch (51 mm), R Value 11.4, flute spanability 4-3/8 inches (111.13 mm).

Thickness 2.50 inch (64 mm), R Value 14.4, flute spanability 4-3/8 inches (111.13 mm).

Thickness 2.70 inch (69 mm), R Value 15.6, flute spanability 4-3/8 inches (111.13 mm).

Thickness 3.00 inch (76 mm), R Value 17.4, flute spanability 4-3/8 inches (111.13 mm).

Thickness 3.10 inch (79 mm), R Value 18.0, flute spanability 4-3/8 inches (111.13 mm).

Thickness 3.30 inch (84 mm), R Value 19.2, flute spanability 4-3/8 inches (111.13 mm).

Thickness 3.50 inch (89 mm), R Value 20.5, flute spanability 4-3/8 inches (111.13 mm).

Thickness 3.60 inch (91 mm), R Value 21.1, flute spanability 4-3/8 inches (111.13 mm).

Thickness 4.00 inch (102 mm), R Value 23.6, flute spanability 4-3/8 inches (111.13 mm).

Thickness 4.50 inch (113 mm), R Value 26.8, flute spanability 4-3/8 inches (111.13 mm).

Target Sumps

Hinged Target Sump 8’x8’

ASTM Type II, Class 1 or 2, Grade 3 (172 kPa)

8’x8’ pre-assembled drain sump

Perimeter Edge Thicknesses 1.5”, 2.0” 2.5” and 3.0”

Slope of Hinged Target Sump board shall be:

1/4 inch (6 mm) per foot.

1/2 inch (13 mm) per foot.

3/8 inch (10 mm) per foot

Target Sump 4’x4’

ASTM Type II, Class 2, Grade 3 (172 kPa)

4’x4’ pre-assembled drain sump

Perimeter Edge Thicknesses 1.5”, 2.0” 2.5” and 3.0”

Slope of Target Sump board shall be:

1/2 inch (13 mm) per foot.

ACCESSORIES

Approved Fasteners: Appropriate for purpose intended and approved by FM Approvals and system manufacturer; length required for thickness of insulation material and penetration of deck substrate, with distribution plates if required.

Base Ply: As recommended by membrane manufacturer.

Asphalt Bitumen: ASTM D 312, Type III, or Type IV.

Use only on approved board insulation types.

Provide with labels indicating flash point, softening point, finished blowing temperature and equiviscous temperature.

Cant Strip and Tapered Edge Strip: Standard machine cut perlite or wood fiberboard strips in sizes indicated or required.

EXECUTION

EXAMINATION

Do not begin installation until substrates have been properly prepared.

Examine roof deck for suitability to receive insulation. Verify that substrate is dry, clean, and free of foreign material that will damage insulation installation.

Verify that roof drains, scuppers, roof curbs, nailers, equipment supports, vents, and other roof accessories are secured properly and installed in conformance with drawings and submittals.

Verify that deck is structurally sound to support installers, materials, and equipment without damaging or deforming work.

If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Clean surfaces thoroughly prior to installation.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

** NOTE TO SPECIFIER ** The incorporation of a vapor barrier or retarder within the roofing assembly is highly recommended when the project is located in Zones 1, 2 or 3 of the United States. PAC-Shield is not intended to substitute for a vapor barrier. Vapor barrier or retarder when used shall have a perm rating of 0.5 or less as determined by ASTM E-96.

Apply vapor barrier and or retarder, as specified by the Architect or required by the local building code, to decking prior to installation of insulation.

INSTALLATION

Install specified insulation in accordance with manufacturer's latest printed instructions and as required by governing codes and Owner's insurance carrier.

Do not leave installed insulation exposed to weather. Cover and waterproof immediately after installation.

Seal exposed insulation joints at the end of each day. Remove seal when work resumes.

Remove installed insulation that has become wet or damaged and replace with new solid and dry insulation material.

** NOTE TO SPECIFIER ** Select one of the following three installation system paragraphs for the roof system required and delete the ones not required. Edit each system as required by the governing codes and Owners insurance requirements. Coordinate with the requirements of the roof system manufacturer.

Built-Up, Coal Tar and Modified Bitumen Systems:

** NOTE TO SPECIFIER ** Select the installation method or combination of methods required from the following three paragraphs and delete those not required. Coordinate with the requirements of the roof system manufacturer and edit as required.

Secure each PAC-Shield panel to the roof deck with Factory Mutual approved fasteners and plates (appropriate to the deck type).

Adhere maximum 4 foot by 4 foot (1220 mm by 1220 mm) panels of PAC-Shield to a prepared concrete deck with a full mopping of hot steep asphalt.

Adhere maximum 4 foot by 4 foot (1220 mm by 1220 mm) panels of PAC-Shield to a prepared concrete deck with FM approved cold adhesive.

Butt edges and stagger joints of adjacent panels.

** NOTE TO SPECIFIER ** The following three paragraphs apply to multi-layer systems only select the method required and delete those not required. Delete if not required.

Multi-layer systems: Adhere subsequent layers with a full mopping of hot steep asphalt.

Multi-layer systems: Adhere subsequent layers with FM approved cold adhesive.

In multi-layer installations, stagger joints in top and bottom layers. Do not align joints in insulation.

Install the roof covering according to the roof manufacturer's specifications.

Single-Ply Systems Ballasted Single-Ply Systems:

Each PAC-Shield panel is loosely laid on the roof deck.

Butt edges and stagger joints of adjacent panels.

In multi-layer installations, stagger joints in top and bottom layers. Do not align joints in insulation.

Install the roof covering according to the roof manufacturer's specifications.

Mechanically Attached Single-Ply Systems:

Each PAC-Shield panel must be secured to the roof deck with Factory Mutual approved fasteners and plates (appropriate to the deck type).

Butt edges and stagger joints of adjacent panels.

In multi-layer installations, stagger joints in top and bottom layers. Do not align joints in insulation.

Install the roof covering according to the roof manufacturer's specifications.

Fully Adhered Single-Ply Systems:

** NOTE TO SPECIFIER ** Select the installation method or combination of methods required from the following three paragraphs and delete those not required. Coordinate with the requirements of the roof system manufacturer and edit as required.

Secure each PAC-Shield panel to the roof deck with Factory Mutual approved fasteners and plates (appropriate to the deck type).

Adhere maximum 4 foot by 4 foot (1220 mm by 1220 mm) panels of PAC-Shield to a prepared concrete deck with a full mopping of hot steep asphalt.

Adhere maximum 4 foot by 4 foot (1220 mm by 1220 mm) panels of PAC-Shield to a prepared concrete deck with cold adhesive.

Butt edges and stagger joints of adjacent panels.

** NOTE TO SPECIFIER ** The following three paragraphs apply to multi-layer systems only select the method required and delete those not required. Delete if not required.

Multi-layer systems: Adhere subsequent layers with a full mopping of hot steep asphalt.

Multi-layer systems: Adhere subsequent layers with FM approved cold adhesive.

In multi-layer installations, stagger joints in top and bottom layers. Do not align joints in insulation.

Install the roof covering according to the roof manufacturer's specifications.

** NOTE TO SPECIFIER ** Note the following paragraph can apply to PAC-Shield Coated Glass. PAC- Shield Coated Glass provides a sustainable solution in retrofit applications when existing insulation is left in place. To facilitate compliance with ASHRAE 90.1 Standards for energy efficiency, PAC-Shield Coated Glass can be installed in a single layer on top of intact and dry insulation after the Single-Ply membrane is removed. The new Single-Ply membrane can then be installed over an insulation assembly that complies with the latest energy code requirements.

Re-roofing Single-Ply systems:

Remove existing single ply membrane and clean surface of debris or irregularities.

Verify that the existing insulation is dry and sound.

Install insulation panels in a single layer on top of intact and dry insulation.

Butt edges and stagger the joints in accordance with good roofing practice and fasten as per manufacturer’s specifications.

Install the new Single-Ply membrane according to the roof manufacturer's specifications.

CLEANING

Remove trash and construction debris from insulation before application of roofing membrane.

PROTECTION

Protect installed products until completion of project.

Protect installed insulation traffic by use of protective covering materials during and after installation.

Cover the top and edges of unfinished roof panel work to protect it from the weather and to prevent accumulation of water in the cores of the panels. Only apply enough insulation per day that can be covered by the finished roofing system.

Do not leave panels exposed to moisture. Wet panels shall be removed or allowed to completely dry prior to application of vapor barrier and/or roof covering.

Repair or replace damaged products before Substantial Completion.

END OF SECTION