# GUIDE SPECIFICATION

# PAC-Shield CI Foil Class A

August 2024

## SECTION 07 21 13 - CONTINUOUS INSULATION WALL PANELS

** NOTE TO SPECIFIER **

Display hidden notes to specifier by using “Tools”/”Options”/“View”/”Hidden Text”.

Follow the instructions listed in the ** NOTE TO SPECIFIER ** sections included throughout the specification. Edit carefully to suit project requirements. Modify as necessary and delete paragraphs that are not applicable.

This specification is based on the continuous insulation products of Petersen Aluminum Corporation, located at:

1005 Tonne Road

Elk Grove Village, IL 60007 Phone: (800) PAC-CLAD

Fax: (800) 722-7150

E-mail: info@pac-clad.com Internet: www.pac-clad.com

Petersen Aluminum Corporation is the developer and producer of high performance polyisocyanurate insulation panels for the interior or exterior of structural exterior walls of residential and commercial buildings. PAC-Shield CI products are designed for use in commercial and residential wall applications to provide “ci” continuous insulation and weather resistive barrier performance within the building envelope.

This specification includes PAC-Shield CI Foil Class A, an energy efficient rigid insulation panel composed of a closed cell Class A polyisocyanurate foam core bonded on-line during a restrained-rise manufacturing process to 15-mil thick glass fiber-reinforced foil facers on both sides. With proper seam treatment, PAC-Shield CI Foil Class A can be used as a complete weather barrier. PAC-Shield CI Foil Class A is designed for use as exterior or interior continuous insulation in wall assemblies capable of meeting NFPA 285. For a complete list of NFPA 285 compliant assembly options please call our technical team at 800-PAC-CLAD or reference the report titled Engineering Extensions Based on NFPA 285 Tests on our website, www.pac-clad.com. Additionally, PAC-Shield CI Foil Class A is approved for interior exposed applications on walls or ceilings.

GENERAL

SECTION INCLUDES

PAC-Shield CI Foil Class A Continuous Insulation for Exterior Walls

** NOTE TO SPECIFIER ** - Delete any paragraphs below not applicable to project

RELATED SECTIONS

Section 03300 - Cast In Place Concrete: Concrete base wall.

Section 03400 - Pre-Cast Concrete: Pre-cast concrete base wall.

Section 04210 - Clay Masonry: Brick facing.

Section 04800 - Masonry Assemblies: Masonry base wall.

Section 04850 - Stone Facing.

Section 05400 - Cold Formed Metal Framing.

Section 07260 - Vapor Retarders: Vapor retarder materials over insulation to adjacent insulation.

Section 07270 - Air Barriers: Air seal materials over insulation to adjacent insulation.

Section 09110 - Non-Structural Metal Framing.

Section 09200 - Plaster and Gypsum Board.

Section 09220 - Stucco.

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required by the text of the edited section; add others as required.

REFERENCES

ASTM C 209 – Methods of Testing Insulating Board, Structural and Decorative.

ASTM C 518 – Steady State Thermal Transmission by Means of the Heat Flow Meter Apparatus (R-value)

ASTM C 1289 – Specifications for Faced Rigid Cellular Polyisocyanurate Thermal Insulating Board.

ASTM D 1037 - Standard Test Methods for Evaluating Properties of Wood-Base Fiber and Particle Panel Materials

ASTM D 1621 - Test Methods for Compressive Properties of Rigid Cellular Plastics.

ASTM D 2126 - Test Method for Response of Rigid Cellular Plastics to Thermal and Humid Aging.

ASTM D 3273 - Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber.

ASTM E 84 (UL 723) - Standard Test Method for Surface Burning Characteristics of Building Materials

ASTM E 96 - Test Method for Water Vapor Transmission of Materials.

ASTM E 283 – Standard Test Method for Determining Rate of Air Leakage Through Exterior Window, Curtain Walls and Doors Under Specific Pressure Differences Across the Specimen

ASTM E 330 – Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference.

ASTM E 331 – Standard Test Method for Water Penetration of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference

ASTM E 2178 – Standard Test Method for Air Permeance of Building Materials

ASTM E 2357 – Standard Test Method for Determining Air Leakage of Air Barrier Assemblies

ASHRAE 90.1-2010 - Energy Standard for Buildings Except Low-Rise Residential Buildings.

IBC Chapter 26 – Foam Plastic Insulation.

ICC – ESL-1608

NFPA 285 - Standard Fire Test Method For Evaluation Of Fire Propagation Characteristics Of Exterior Non-Load-Bearing Wall Assemblies Containing Combustible Components.

NFPA 286 - Standard Methods Of Fire Tests For Evaluating Contribution Of Wall And Ceiling Interior Finish To Room Fire Growth

UL 1715 - Standard for Fire Test of Interior Finish Material.

UL 263 – Standard for Fire Tests of Building Construction and Materials

Miami Dade County FL NOA No 23-1208-13

CCMC 13460-L

CAN/ULC S-704 Type 1, Class 1

DrJ Engineering TER 2404-02; 2406-04.

Priest and Associates Engineering Extensions Based on NFPA 285 Tests

** NOTE TO SPECIFIER ** System Description contains components which must be part of an NFPA 285 compliant assembly. Petersen Aluminum Corporation has an Engineering Extension Report from Priest & Associates that outlines all compliant wall assembly options for Types I, II, III and IV buildings that can be achieved using PAC-Shield CI Foil Class A. For a complete list of NFPA 285 compliant assembly options please contact our technical team at 800-PAC-CLAD or reference the report titled Engineering Extensions Based on NFPA 285 Tests on our website, www.pac-clad.com

SYSTEM DESCRIPTION:

Exterior Wall Assembly; Exterior Insulation (Table 1 of Engineering Extension Report)

Base Wall

Fire-stopping at floor lines

Cavity Insulation (optional)

Exterior Sheathing, Sheathing/WRB combined product (optional)

WRB on base wall (optional)

Exterior Insulation

WRB on Exterior Insulation

Exterior Cladding

Exterior Wall Assembly; Interior Insulation (Table 6 of Engineering Extension Report)

Base Wall

Exterior Coating (optional)

WRB over Base Wall Interior (optional)

Continuous Insulation

WRB over Continuous Insulation (optional)

Interior Cladding

**NOTE TO SPECIFIER** - Delete sections below not relevant to this project; add others as required.

DESIGN REQUIREMENTS

Perform work in accordance with all federal, state and local codes.

Physical properties of Xci Foil Class A (faced):

Flame Spread Index: ASTM E 84, less than 25.

Smoke Developed: ASTM E 84, less than 250.

Compressive Strength: ASTM D 1621; Grade 2 (20 psi / 138 kPa) or Grade 3 (25psi /

172 kPa).

Dimensional Stability: ASTM D 2126, 2 percent linear change (7 days).

Moisture Vapor Permeance: ASTM E 96, less than 0.04 perm (2.875ng/(Pa•s•m2)).

Water Absorption: ASTM C 209, less than 0.05 percent by volume.

Air Permeance of Building Material: ASTM E 2178, less than 0.001 L(s.m2) at 75 Pa

Air Leakage of Air Barrier Assemblies: ASTM E 2357, no leakage

Rate of Air Leakage: ASTM E 283, less than 0.04 cfm/ft2

Structural Performance by Uniform Static Air Pressure Difference: ASTM E 330, less than 0.04 cfm/ft2

Water Penetration by Static Air Pressure Difference: ASTM E 331, pass, no leakage

Resistance to Mold: ASTM D 3273 Passed (10).

Impact Resistance: ASTM D 1037 (Janka Ball Test): 40

Pressure washable 15 mil reinforced foil facer

3rd Generation Zero ODP Blowing Agent; Contains zero CFCs, HCFCs, or HFC; Virtually no Global Warming Potential (GWP)

Service Temperature: Minus 100 degrees to 250 degrees F (minus 73 degrees C to 122 degrees C)

PAC-Shield CI Foil Class A has passed the following:

Meets the current continuous insulation standards of ASHRAE 90.1, IECC and IBC Chapter 26.

NFPA 285 Standard Fire Test Method for Evaluation of Fire Propagation Characteristics of Exterior Wall Assemblies Containing Combustible Components. For a complete list of NFPA 285 compliant assembly options please call our technical team at 888-746-1114 or reference the report titled Engineering Extensions Based On NFPA 285 Test on our website, www.pac-clad.com.

NFPA 286 Corner Burn Test for walls or ceilings only, with or without joint treatment, allowing product to be left exposed on interior application without a thermal barrier up to 3.5 inches thick.

UL 1715 with up to 8 inches for exposed applications on ceilings only.

UL 263 Time-Rated Assemblies

PAC-Shield CI Foil Class A is evaluated and listed under DrJ TER 1402-01. Tests include:

Flame spread index of <25 and smoke developed index of <250 when tested in accordance with ASTM E 84.

Classified as Type I in accordance with ASTM C 1289.

Weather Resistive Barrier Performance

** NOTE TO SPECIFIER ** - Delete sections below that are not applicable.

SUBMITTALS

Submit under provisions of Section 01300.

Product Data: Manufacturer's data sheets and installation guides on wall panels and fasteners to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods and accessories.

SPECIFIER INSTRUCTIONS - Delete the following paragraphs if LEED is not applicable.

LEED Submittals: Provide documentation of how the requirements of Credit will be met:

List of proposed materials with recycled content. Indicate post-consumer recycled content and pre-consumer recycled content for each product having recycled content.

Manufacturer-Specific Environmental Product Declaration (EPD) which conforms to ISO 14025 and Polyisocyanurate Insulation Manufacturers Association EPD

DrJ Engineering TER 2404-02; 2406-04 (state-specific stamped reports available)

Priest and Associates Engineering Extensions Based on NFPA 285 Tests

Manufacturer's Certificate: Certify panels will conform to specified performance requirements.

QUALITY ASSURANCE

Manufacturer Qualifications: Manufacturer shall be a company that regularly manufactures and assembles specified insulation in house with no outside fabrication operations.

Manufacturer shall have multiple manufacturing facilities to ensure consistency of product supply.

Pre-Installation Meeting: Convene a minimum one week prior to commencing Work of this section. Review installation procedures and coordination required with Related Work and include the following:

Participants: Authorized representatives of the Contractor, Architect, Installer, and Manufacturer.

Review wall assemblies for potential interference and conflicts and coordinate layout and support provisions for interfacing work.

Review continuous insulation wall panels installation methods and procedures related to application, including manufacturer’s installation guidelines.

Review firestopping requirements and weather resistive membrane requirements and placement locations.

Review field quality control procedures.

DELIVERY, STORAGE, AND HANDLING

Good construction practice dictates that all insulations should be protected from moisture and direct sunlight during job-site storage. Pallets of PAC-Shield CI Foil Class A are protected by a 2-step packaging process using shrink wrap and a UV resistant polyethylene bag. This moisture resistant package is designed for protection from the elements during flatbed shipment from our factories to the jobsite. Outdoor storage for extended periods of time requires waterproof tarpaulins and elevated storage above ground level a minimum of 2”. Additionally, we recommend slitting the bundle packaging vertically down the center of the two short sides to prevent moisture accumulation within the package.

Protect insulation from open flame.

SEQUENCING

Coordinate with the installation of vapor retarders and air seal materials specified in Section 07260 and Section 07270.

Ensure that products of this section are supplied to affected trades in time to prevent interruption of construction progress.

1.10 PROJECT CONDITIONS

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's absolute limits.

PRODUCTS

MANUFACTURERS

Basis of Design: PAC-Shield CI Foil Class A produced by Petersen Aluminum Corporation, 1005 Tonne Road, Elk Grove Village, IL 60007. Phone: (800) PAC-CLAD. Fax: (800) 722-

7150. E-mail: info@pac-clad.com.

** NOTE TO SPECIFIER ** - Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

Substitutions: Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01600.

BOARD INSULATION

Board Insulation: Provide products that comply with the following:

** NOTE TO SPECIFIER ** Delete all of the following standards that are not required; coordinate with product specifications.

ASTM standards specified.

Factory Mutual (FM) approvals specified.

Underwriters Laboratories Inc. (UL) classifications specified. Miami Dade County, Florida Product Control No. 23-1208.13. ICC – ESL-1608.

DrJ Engineering TER 2404-02; 2406-04

PAC-Shield CI Foil Class A complies with ASTM C 1289 Type I and ASTM E 84 Class A. Boards are energy efficient rigid insulation panels composed of a closed cell Class A polyisocyanurate foam core bonded during a restrained-rise manufacturing process to 15-mil thick reinforced foil facers on both sides.

Foam Core

Grade 2 (20 psi)

Grade 3 (25 psi)

Panel Size:

4 feet by 8 feet (1220 mm by 2440 mm).

Additional lengths/widths available upon request

Thickness / R-value: ASTM C 518 at 75 degrees F (23.9 degrees C).

SPECIFIER INSTRUCTIONS - Select one of the following Grade paragraphs and delete those not required.

1.0 inches (25 mm) / R-value 6.3

1.5 inches (38 mm) / R-value 9.5

1.6 inches (40 mm) / R-value 10.1

2.0 inches (51 mm) / R-value 13.0

2.5 inches (64 mm) / R-value 16.0

3.0 inches (76 mm) / R-value 19

3.5 inches (89 mm) / R-value 22

4.0 inches (100 mm) / R-value 25.2

j.	Provide to thickness indicated on the Drawings.

JOINT SEALANT, PANEL FASTENERS, AND ADHESIVES

Liquid Joint Sealants:

Xci BarriBond XL

Xci BarriBond

Xci DynaTrol I-XL Hybrid

Foil Grip 1402 Tape: Foil-faced butyl flashing tape

Backing: 2 mils aluminum foil

Width: 2 to 6 inches

Thickness: 17 mils

AlumaGrip 701 Tape: Foil-faced butyl flashing tape

Backing: 2 mils aluminum foil

Width: 2 to 6 inches

Thickness: 30 mils

ECHOtape MT-A7757: Foil-faced acrylic flashing tape.

Width: Nominal 2.0”, 3.0”, and 4.0”

Thickness: 3.35 mils

Construction Grade Adhesives including: Loctite, Chemlink, DAP, BASF

Insulation Adhesive: CAV-GRIP

Approved Fastening Methods:

Screw type with washers (TRUFAST Walls)

Powder or gas-actuated fasteners with washers

Impalement type (stick pins)

Adhesive: any general construction grade adhesive (not recommended for ceiling applications)

Insulation retainment systems for exposed applications: Victory Bear or Nudo Products

EXECUTION

**NOTE TO SPECIFIER ** - See Petersen Aluminum Corporation Installation Guide for recommended fastening and installation methods. Coordinate panel installation requirements with wall covering manufacturer.

EXAMINATION

Do not begin installation until exterior walls have been properly prepared.

Verify that all wall assembly construction has been completed to the point where the insulation may correctly be installed.

Verify that mechanical and electrical services in walls have been installed and tested and, if appropriate, verify that adjacent materials and finishes are dry and ready to receive insulation.

If wall assembly preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Clean surfaces thoroughly prior to installation.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

INSTALLATION

Install in accordance with manufacturer's instructions.

Install without gaps or voids. Do not compress insulation.

Trim insulation neatly to fit spaces. Insulate miscellaneous gaps and voids.

Fit insulation tight in spaces and tight to exterior side of mechanical and electrical services within plane of insulation.

Fasten or adhere insulation as recommended by the manufacturer’s Installation Guide.

Insulation must be protected from open flame and stored in accordance with the manufacturer’s instructions.

SPECIFIER INSTRUCTIONS - During the time between installation of continuous wall insulation panels and the application of the finished exterior cladding, it is recommended that a building wrap be applied over the wall insulation. The incorporation of Weather Resistant Barriers (air, vapor and moisture) is also a critical element of the wall assembly. It is recommended that a hygrothermal analysis of the proposed assembly be conducted to determine the type and locations of a proposed Weather Resistant Barriers. Select one of the following three paragraphs and delete those not required.

Install vapor retarders over insulation panels as specified in Section 07260.

Install air barriers over insulation panels as specified in Section 07270.

PAC-Shield wall insulation is not intended to be left exposed for extended periods of time without adequate protection. If extended exposure is anticipated all exposed foam surfaces exposed to daylight should be taped with a compatible waterproof tape. When properly installed, PAC-Shield CI Foil Class A can remain uncovered up to 180 days.

Install exterior cladding as recommended by the cladding manufacturer and as specified in other sections of this specification.

PROTECTION

Protect installed products until completion of project.

Cover the top and edges of unfinished wall panel work to protect it from the weather and to prevent accumulation of water in the cores of the panels.

Wet panels shall be allowed to completely dry prior to application of weather barrier and/or cladding.

Repair or replace damaged products before Substantial Completion.

END OF SECTION